## Observatory Details
station questionnaire | Station details
Station name
Country
GAW ID
EBAS ID
WIGOS sataion identifier
Climate
| Latitude | Longitude
Coordinates
Max dew point temperature
mean station pressure
mean indoor station temperature
frequency in cloud/fog
Add a figure of the annual distribution of the dew point temperature of the last three years, if available
this is an example …
Add a figure of the annual distribution of the indoor temperature
this is an example

## Aerosol inlets
station questionnaire
List ofaerosol inlets | Inlet type | Main inlet pipe |  |  |  |  | Isokinetic flow splitter | Excess flow of the isokinetic splitter | Comments
| (PM10, PM2.5, whole air, interstitial) | Flow rate in l/min | Inner pipe diameter in mm | Reynolds number | Pipe vertical under the inlet tinto the room? | Drying | Y/N |  |  | List of instruments connected to the inlet, with individual flows
[5 empty] | Y/N | (Nafion, diffusion)
Inlet 1
Inlet2
Inlet3
Add a picture of the inlet(s) on the roof | [5 empty] | Add priciple sketches of the inlet(s), splitters incl. the instrumentation and flows
This is an example
Add a picture of the aerosol splitter inside of the room
This is an example

## Number conc. > 10 nm
station questionnaire
List of CPC | CPC brand &type | Serial number | CEN compatible | DP50 in nm | inlet flow rate in l/min | internal flow split | aerosol flow rate in l/min | Pipe length from splitter in cm | Last date of calibration | Calibration Facility | T/RH sensor at CPC inlet | Drying | Type of dryer | Condensate water removal | Comments
|  |  | Y/N |  |  | Y/N |  |  | DD/MM/YYYY |  | Y/N | Y/N |  | Y/N
CPC1
CPC2
CPC3

## Number conc < 10 nm
station questionnaire
List of Nano PNC instrument (UCPC / nCNC consisting of PSM and a CPC) | Instrument brand &type | Serial number | DP50 in nm | inlet flow rate in l/min | internal flow split | aerosol flow rate in l/min | Pipe length from splitter in cm | Last date of calibration | Calibration Facility | T/RH sensor at CPC inlet | Drying | Type of dryer | Comments
[5 empty] | Y/N |  |  | DD/MM/YYYY |  | Y/N | Y/N
Nano PNC1
Nano PNC2
Nano PNC3

## Size dist. 10-800 nm
Station questionnaire
| MPSS brand | MPSS serial number | CEN compatible | Size range in nm | size bin per decade | MPSS type | Sheath flow closed loop | DMA inlet flow rate in l/min | DMA sample flow rate in l/min | DMA Sheath flow rate in l/min | T/RH sensor in aerosol inlet flow | T/RH sensor in sheath air flow | Pressure sensor | Pipe length of the splitter in cm | Last date of calibration | Calibration Facility | Polarity of HV power supply | comments
|  |  | Y/N |  |  | Scanning, stepping | Y/N |  |  |  | Y/N | Y/N | Y/N |  | DD/MM/YYYY
MPSS1
MPSS2
| CPC brand &type | CPC serial number | CEN compatible | DP50 in nm | inlet flow rate in l/min | internal flow split | aerosol flow rate in l/min | Last date of calibration | Calibration Facility | comments
|  |  | Y/N |  |  | Y/N |  | DD/MM/YYYY
CPC in MPSS1
CPC in MPSS2
| Brand of the bipolar charger | Type of charger | Charger serial number | Activity in MBq (radiactive) | age of charger (radiactive) | Acceleration voltage (x-ray) | comments
Kr85, Ni63, X-ray, ..
Charger in MPSS1
Charger in MPSS2
Drying | Drying Aerosol inlet flow | Type of dryer (with vacuum or dry air) | Drying Sheath air flow | Type of dryer (with vacuum or dry air) | comments
| Y/N |  | Y/N
MPSS1
MPSS2

## Size dist. < 10 nm
Station questionnaire
Instrument (such as PSM/Nano-CPC, NAIS, Nano-MPSS optimized for 1-10nm particles)
| Instrument brand &type | Serial number | CEN compatible | Size range in nm | Mode (scanning/stepping) | Saturator flow rate range (in lpm) | Scan/step lengt (in s) | Pipe length from splitter in cm | Inlet flow rate | Last date of calibration | Calibration Facility | T/RH sensor at inlet | Drying | Type of dryer | Comments
|  |  | Y/N | [6 empty] | DD/MM/YYYY |  | Y/N | Y/N
PSM/Nano-CPC1
PSM/Nano-CPC2
| Instrument brand &type | Serial number | CEN compatible | Size range in nm | Measurement modes (e.g. ions, particles, offset for NAIS) | Measurement cycle (length of different modes in s) | Type of charger (e.g. corona for NAIS) | Pipe length from splitter in cm | Inlet flow rate (l/min) | Last date of calibration | Calibration Facility | T/RH sensor inlet | Drying | Type of dryer | Comments
|  |  | Y/N | [6 empty] | DD/MM/YYYY |  | Y/N | Y/N
Ion spectrometer 1
Ion spectrometer 1
| MPSS brand | MPSS serial number | CEN compatible | Size range in nm | Size bin per decade | MPSS type | Closed loop | DMA inlet flow rate in l/min | DMA sample flow rate in l/min | DMA Sheath flow rate in l/min | T/RH sensor in aerosol inlet flow | T/RH sensor in sheath air flow | Pressure sensor | Pipe length from splitter in cm | Last date of calibration | Calibration Facility | Polarity of HV power supply | comments
|  |  | Y/N |  |  | Scanning, stepping | Y/N |  |  |  | Y/N | Y/N | Y/N |  | DD/MM/YYYY
Nano-MPSS1
Nano-MPSS2
| CPC brand &type | CPC serial number | CEN compatible | DP50 in nm | inlet flow rate in l/min | internal flow split | aerosol flow rate in l/min | Last date of calibration | Calibration Facility | comments
|  |  | Y/N |  |  | Y/N |  | DD/MM/YYYY
CPC in Nano-MPSS1
CPC in Nano-MPSS2
| Brand of the bipolar charger | Type of charger | Charger serial number | Activity in MBq (radiactive) | age of charger (radiactive) | Accelelation voltage (x-ray) | comments
Kr85, Ni63, X-ray, ..
Charger in Nano-MPSS1
Charger in Nano-MPSS2
Drying | Drying Aerosol inlet flow | Type of dryer | Drying Sheath air flow | Type of dryer |  | comments
| Y/N |  | Y/N
Nano-MPSS1
Nano-MPSS2

## Size distr. 0.8-10 µm
Station questionnaire
| APSS brand | APSS serial number | Size range in µm | size bin per decade | APSS total flow rate from inlet in l/min | APSS aerosol flow rate in l/min | APSS sheath flow rate in l/min | T/RH sensor in inlet flow | Pressure sensor | Instrument vertical under splitter | Horizontal distance from splitter in cm | Last date of calibration | Calibration Facility | comments
[8 empty] | Y/N | Y/N | Y/N |  | DD/MM/YYYY
APSS1
Drying | Drying total inlet flow | Type of dryer | Drying aerosol inlet flow (vaccum or dry air) | Type of dryer | Drying aerosol inlet flow (vaccum or dry air) | Type of dryer | comments
| Y/N |  | Y/N |  | Y/N
APSS1

## Light Scattering
Station questionnaire
| Integrating Nephlometer brand/ type | Integrating Nephelometer serial number | Integrating Nephelometer Flow rate in l/min | T/RH sensor in inlet flow | T/RH sensor inside | Pressure sensor | Instrument vertical under splitter | Horizontal distance from splitter in cm | Frequency of zero calibration | Frequency of CO2 span check | Last date of external calibration | Calibration Facility | comments
|  |  |  | Y/N | Y/N | Y/N | Y/N |  |  |  | DD/MM/YYYY
Integrating Nephelometer 1
Drying | Drying aerosol flow | Type of dryer | Drying aerosol inlet flow | Type of dryer
| Y/N |  | Y/N
Integrating Nephelometer 1
Add a figure of the annual distribution of the RH inside the Neph of the last three years, if available
This is an example
Add a figure of the zero calibration
This is an example

## Light Absorption -BC
Station questionnaire
| Absorption Photometer brand/ type | Absorption Photometer serial number | No of wavelengths | wavelengths in nm | Absorption Photometer Flow rate in l/min | T/RH sensor in inlet flow | Pressure sensor | Instrument vertical under splitter | Horizontal distance from splitter in cm | Frequency of zero calibration | Last date of external calibration | Calibration Facility | comments
[6 empty] | Y/N | Y/N | Y/N |  |  | DD/MM/YYYY
Absorption Photometer 1
Absorption Photometer 2
Drying | Drying aerosol flow | Type of dryer | Drying aerosol inlet flow | Type of dryer | Filter type
| Y/N |  | Y/N
Absorption Photometer 1
Absorption Photometer 2

## CCN number conc.
Station questionnaire
| CCNc brand | CCNc serial number | CEN compatible | CCNc type | column settings | type of operation | supersaturation steps | CCNc flow rate in l/min | T/RH sensor in inlet flow | Pressure sensor | Pipe length from splitter in cm | dryer in front of CCNc | Last date of calibration | Calibration Facility | comments
|  |  | Y/N | 1column/2column |  | monodisperse/polydisperse |  |  | Y/N | Y/N |  | Y/N | DD/MM/YYYY
for monodisperse setup, please also fill in MPSS specifications below
CCNc1 |  |  |  |  | colA
colB
CCNc2 |  |  |  |  | colA
colB
for monodisperse setup, please also fill in MPSS specifications below
| MPSS brand | MPSS serial number | CEN compatible | Size range in nm | MPSS type | Closed loop | DMA inlet flow rate in l/min | DMA sample flow rate in l/min | DMA Sheath flow rate in l/min | T/RH sensor in aerosol inlet flow | T/RH sensor in sheath air flow | Pressure sensor | Pipe length from splitter in cm | Last date of calibration | Calibration Facility | comments
|  |  | Y/N |  | Scanning, stepping | Y/N |  |  |  | Y/N | Y/N | Y/N |  | DD/MM/YYYY
MPSS1
MPSS2
| CPC brand &type | CPC serial number | CEN compatible | DP50 in nm | inlet flow rate in l/min | internal flow split | aerosol flow rate in l/min | Last date of calibration | Calibration Facility | comments
|  |  | Y/N |  |  | Y/N |  | DD/MM/YYYY
CPC in MPSS1
CPC in MPSS2
| Brand of the bipolar charger | Type of charger | Charger serial number | Activity in MBq (radiactive) | age of charger (radiactive) | Accelelation voltage (x-ray) | comments
Kr85, Ni63, X-ray, ..
Charger in MPSS1
Charger in MPSS2
Drying | Drying Aerosol inlet flow | Type of dryer | Drying Sheath air flow | Type of dryer | comments
| Y/N |  | Y/N
MPSS1
MPSS2

## Organic Tracers
Station questionnaire
During the implementation phase, OGTAC-CC will focus on harmonizing the different steps from filter sampling, sample transport and storage, sample preparation until data analysis as well as define the respective target compounds in close collaboration with the NFs interested in the respective labelling. For the direct analysis of organic particulate constituents, up to now OGTAC-CC is not recommending a dedicated technique. The implementation phase will be used here to evaluate the full procedure in collaboration between OGTAC-CC and the NFs, finally resulting in measurement guidelines and defined QA/QC procedures.
Requested Information | Please give as much detail as possible | Comment
Target compund(s) |  | If different target compunds are treated differently, please indicate below
Sampling |  | sampling device (filter sampler/ impactor), material, sampling parameters: size, volume, time etc.
Sample transfer to the lab |  | How long after sampling? Packaging of samples/ filters?
Storage of samples/ filters until analysis |  | Temperature? Typical duration?
Extraction procedure |  | Indicate all details of your extraction procedure (sample/ filter area, solvent, volume, treatment, i.e. shaking, ultrasonication, ect., extraction time, repetitions of extraction, extract protected against sunlight etc.)
Storage of extracts until analysis |  | Temperature? Typical duration?
Type of separation |  | Please indicate the type of separation technique applied (GC, IC, RPLC, etc.) in detail (including manufacturer of instrument)
Column for separation
Eluent gradient
Detector |  | Indicate type and manufacturer of detector (UV, TOFMS, etc.)
Internal standard for determination of extraction efficiency, if applicable |  | Is extraction efficiency monitored with internal standards for each extraction? If so, which ones? Are concentrations corrected for extraction efficiency?
Type of standard used for quantification of the target compound(s) |  | Are authentic standards used for quantification for each analyte?
Detection limit explanation |  | External calibration? Standard addition? How many concentration levels?
Uncertainty explanation |  | Instrumental LOD, Method LOD, how is LOD determined?
References |  | Publication on your method
Any other info |  | E.g., any other correction method?

## OC-EC
Station questionnaire
Off-line analysis
| Sampler Brand | Sampler Model | Sampler serial number | Sampler type | Filter enclosure temperature control | Filter enclosure temperature record | Flow rate | Flow rate calibration method | Flow rate calibration frequency | Ambient pressure and temperature record | EN12341 compatible | Sampling head type | Sampling head 50% cut-off aerodynamic diameter | Denuder | Denuder type | Denuder length | Sampling duration | Filter type | Exposed filter surface area | Filter pre-treatment | Comments
|  |  |  | man./seq. | Y/N | Y/N | l/min |  |  | Y/N | Y/N |  |  | Y/N |  | cm / NA | h |  | cm²
Filter sampler 1
Filter sampler 2
| Analyser Brand | Analyser Model | Analyser serial number | Thermal protocol | Oven temperature calibration | Oven temperature calibration frequency | Optical charring corrrection | Optical charring corrrection method | Laser wavelength(s) | Carbon signal integration option | Internal standard | Internal standard pressure and temperature record | Off-line calibration material | Calibration material certification | Control filter use | Blank correction | Blank details | Uncertainty estimation method | Last date of inter-laboratory comparison | inter-laboratory comparison ID | Comments
[5 empty] | Y/N | d / NA | Y/N | trans./refl. | nm / NA |  |  | Y/N |  | Y/N | Y/N | Y/N |  |  | DD/MM/YYYY
OCEC ananlyser 1
OCEC ananlyser 2
On-line analysis
| Analyser Brand | Analyser Model | Analyser serial number |  | Filter enclosure temperature control | Filter enclosure temperature record | Flow rate | Flow rate calibration method | Flow rate calibration frequency | Ambient pressure and temperature record |  | Sampling head type | Sampling head 50% cut-off aerodynamic diameter | Denuder | Denuder type | Denuder length | Sampling duration | Filter type | Exposed filter surface area | Filter change frequency | Comments
[5 empty] | Y/N | Y/N | l/min |  |  | Y/N |  |  |  | Y/N |  | cm / NA | h |  | cm² | d
OCEC ananlyser 1
OCEC ananlyser 2
|  |  |  | Thermal protocol | Oven temperature calibration | Oven temperature calibration frequency | Optical charring corrrection | Optical charring corrrection method | Laser wavelength(s) | Carbon signal integration option | Internal standard | Internal standard pressure and temperature record | Off-line calibration material | Calibration material certification |  |  |  | Uncertainty estimation method | Last date of inter-laboratory comparison | inter-laboratory comparison ID | Comments
[5 empty] | Y/N | d / NA | Y/N | trans./refl. | nm / NA |  |  | Y/N |  | Y/N |  |  |  |  | DD/MM/YYYY
OCEC ananlyser 1
OCEC ananlyser 2
Note on E4: manual or sequential
Note on V4: Including description of multi-filter use for assesing sampling artefacts
Note on L9: Examples: CH4, CO2, none
Note on N9: Examples: saccharose solution, phthalic acid solution
Note on R9: Jean-Philippe PUTAUD: Examples: - Box blanks - Field Blanks (no sampling) - Field Blanks (1 min sampling)
Note on L20: Examples: CH4, CO2, none
Note on N20: Examples: saccharose solution, phthalic acid solution

## Mass conc. non-refrac.
station questionaire
| Instrument Manufacturer | Instrument model | Instrument serial Number | Lens cut-off | Critical orifice diameter (in mm) | Vaporizer type | Type of Detector | Volume std temperature (K) | Volume std pressure (hPa) | Aerosol flow rate in sampling line before instrument isokinetic split (l/min) | Pipe length in the station before instrument isokinetic split (in cm) | Last date of calibration | Calibration Facility | T/RH sensor at the inlet | Drying | Type of dryer | Comments
[12 empty] | DD/MM/YYYY |  | Y/N | Y/N
Instrument 1

## Mass conc. elements
Station questionnaire
Off-line analysis
| Sampler Brand | Sampler Model | Sampler serial number | Sampler type | Filter enclosure temperature control | Filter enclosure temperature record | Flow rate | Flow rate calibration method | Flow rate calibration frequency | Ambient pressure and temperature record | EN12341 compatible | Sampling head type | Sampling head 50% cut-off aerodynamic diameter | Denuder | Denuder type | Denuder length | Sampling duration | Filter type | Exposed filter surface area | Filter pre-treatment | Comments
|  |  |  | man./seq. | Y/N | Y/N | l/min |  |  | Y/N | Y/N |  |  | Y/N |  | cm / NA | h |  | cm²
Filter sampler 1
Filter sampler 2
| Acceleraror Brand | Accelerator type | Accelerator terminal voltage | Ion beam | Beam energy | Beam current | Beam current measurement method | Beam incidence angle | Beam spot size/sample scanned area | Measurement duration (live time) | Measurement environmnt | X-ray detector type | X-ray detector brand | X-ray detector active area | X-ray detector active thickness | X-ray detector entrance window material | X-ray detector entrance window thickness | X-ray detector energy resolution | X-ray detector angle | X-ray detector filters | Funny filter | Funny filter hole fraction | X-ray detector filter 1 material | X-ray detector filter 1 thickness | X-ray detector filter 2 material | X-ray detector filter 2 thickness | Range of detected elements | Calibration standards | Data analysis software | Quantitative analysis procedure | Statistical uncertainty #1 | Statistical uncertainty #2 | Systematic uncertainty #1 | Systematic uncertainty #2 | Last date of inter-laboratory comparison | inter-laboratory comparison ID | Comments
|  | single/tandem | MV |  | MeV | nA |  |  | cm2 | s | vac./ext. | SDD/Si(Li) |  | mm2 | mm |  | mm | eV |  | Y/N | Y/N | % |  | mm/mm |  | mm/mm |  |  |  |  | % | % | % | % | DD/MM/YYYY
PIXE analyser 1
PIXE analyser 2
| Spectrometer Brand | Spectrometer Model | Spectrometer serial number | X-ray tube anode material | X-ray tube maximum power | X-ray tube maximum anode voltage | X-ray tube maximum anode current | Beam spot size/sample scanned area | X-ray detector type | X-ray detector active area | X-ray detector active thickness | X-ray detector energy resolution | Measurement environmnt | Primary beam filters | Primary beam filter type | Anode voltage | Anode current | Measurement duration (live time) | Range of detected elements | Calibration standards | Data analysis software | Quantitative analysis procedure | Statistical uncertainty #1 | Statistical uncertainty #2 | Systematic uncertainty #1 | Systematic uncertainty #2 | Last date of inter-laboratory comparison | inter-laboratory comparison ID | Comments
[5 empty] | W | kV | mA | cm2 | SDD/Si(Li) | mm2 | mm | eV | vac./ext. | Y/N |  | kV | mA | s |  |  |  |  | % | % | % | % | DD/MM/YYYY
XRF analyser 1
XRF analyser 2
| Spectrometer Brand | Spectrometer Model | Spectrometer serial number | Sample introduction system | Desolvation system | Mass range of the detected elements | Resolution | Mass selector (if present) | Detector | Range of calibration | Calibration standards | Range of linearity | Measurement duration | Acquisition software | Statistical uncertainty | Systematic uncertainty | Sample preparation/ extraction | RF power | Last date of inter-laboratory comparison | inter-laboratory comparison ID | Comments
[6 empty] | amu | m/Δm |  |  | µg/L |  |  | s |  | % | % |  | W | DD/MM/YYYY
ICP analyser 1
ICP analyser 2
Please add more lines per analysis type if needed
On-line analysis
| Instrument Brand | Instrument Model | Instrument serial number | Filter enclosure temperature control | Filter enclosure temperature record | Flow rate | Flow rate calibration method | Flow rate calibration frequency | Ambient pressure and temperature record | Sampling head type | Sampling head 50% cut-off aerodynamic diameter | Heater | Sampling duration | Filter type | Exposed filter surface area | [10 empty] | Comments
|  |  |  | Y/N | Y/N | l/min |  |  | Y/N |  |  | Y/N | h |  | cm²
XRF analyser 1
XRF analyser 2
|  |  |  | X-ray tube anode material | X-ray tube maximum power | X-ray tube maximum anode voltage | X-ray tube maximum anode current | Beam spot size/sample scanned area | X-ray detector type | X-ray detector active area | X-ray detector active thickness | X-ray detector energy resolution | Anode voltage | Anode current | Measurement duration (live time) | Range of detected elements | Calibration standards | Data analysis software | Quantitative analysis procedure | Statistical uncertainty #1 | Statistical uncertainty #2 | Systematic uncertainty #1 | Systematic uncertainty #2 | Last date of inter-laboratory comparison | inter-laboratory comparison ID | Comments
[5 empty] | W | kV | mA | cm2 | SDD/Si(Li) | mm2 | mm | eV | kV | mA | s |  |  |  |  | % | % | % | % | DD/MM/YYYY
XRF analyser 1
XRF analyser 2
Note on E4: manual or sequential
Note on V4: Including description of multi-filter use for measuring with different techniques (PIXE/XRF, ICP-MS, IC...)
Note on C9: Utente di Microsoft Office: single-ended or Tandem
Note on I9: Utente di Microsoft Office: with respect to sample normal (i.e. 0° for normal incidence)
Note on L9: Utente di Microsoft Office: in-vacuum or external beam
Note on M9: Utente di Microsoft Office: SDD or Si(Li)
Note on S9: Utente di Microsoft Office: FWHM energy resolution at the 5.9 keV Mn Ka line
Note on T9: Utente di Microsoft Office: with respect to incoming beam direction
Note on X9: Utente di Microsoft Office: Insert (F) at the end if it refers to a funny filter material
Note on Y9: Utente di Microsoft Office: air or helium in mm; otherwise in mm
Note on Z9: Utente di Microsoft Office: Insert (F) at the end if it refers to a funny filter material
Note on AA9: Utente di Microsoft Office: air or helium in mm; otherwise in mm
Note on AF9: Utente di Microsoft Office: Please write in the comment the uncertainty scource name
Note on AG9: Utente di Microsoft Office: Please write in the comment the uncertainty scource name
Note on AH9: Utente di Microsoft Office: Please write in the comment the uncertainty scource name
Note on AI9: Utente di Microsoft Office: Please write in the comment the uncertainty scource name
Note on J14: Utente di Microsoft Office: SDD or Si(Li)
Note on M14: Utente di Microsoft Office: FWHM energy resolution at the 5.9 keV Mn Ka line
Note on N14: Utente di Microsoft Office: in-vacuum or external beam
Note on X14: Utente di Microsoft Office: Please write in the comment the uncertainty scource name
Note on Y14: Utente di Microsoft Office: Please write in the comment the uncertainty scource name
Note on Z14: Utente di Microsoft Office: Please write in the comment the uncertainty scource name
Note on AA14: Utente di Microsoft Office: Please write in the comment the uncertainty scource name
Note on J34: Utente di Microsoft Office: SDD or Si(Li)
Note on M34: Utente di Microsoft Office: FWHM energy resolution at the 5.9 keV Mn Ka line
Note on U34: Utente di Microsoft Office: Please write in the comment the uncertainty scource name
Note on V34: Utente di Microsoft Office: Please write in the comment the uncertainty scource name
Note on W34: Utente di Microsoft Office: Please write in the comment the uncertainty scource name
Note on X34: Utente di Microsoft Office: Please write in the comment the uncertainty scource name